CHILDREN’S NATIONAL MEDICAL CENTER

DEPARTMENT OF RADIOLOGY

ULTRASOUND PROTOCOL

______________________________________________________________________

Issue Date: 05/02/2014		                Policy: Lower Extremity VENOUS DOPPLER

Last Revision Date: 10/29/2016 				Approved by:

- Indications for lower extremity venous Doppler include but are not limited to:

- Evaluation for venous obstruction, thromboembolic disease,

- Evaluate for venous insufficiency, varicosities, or reflux.

- Assessment for dialysis or graft access.

- Venous mapping prior to surgery or graft placement.

B.	 Protocol:

Confirm patient identity using standard hospital protocol (2 patient identifiers).

Verify physician order.

Wash hands prior to patient contact, in addition to utilizing standard & or isolation precautions as appropriate.

Venous Thromboembolic Disease: Lower Extremity

(Bilateral, Right, or Left)

- Iliac Vein – grayscale, color and spectral Doppler

- CFV transverse – split screen without and with compression

- CFV longitudinal  – color and spectral Doppler

- GSV transverse  – split screen without and with compression

- Femoral (prox)/ Profunda  transverse – split screen without and with compression

- Femoral (prox) /Profunda  longitudinal – color and spectral Doppler

- Femoral (mid) transverse – split screen without and with compression

- Femoral (mid) longitudinal – color and spectral Doppler

- Femoral (distal) transverse – split screen without and with compression

- Femoral (distal) longitudinal – color and spectral Doppler

- Popliteal transverse – split screen without and with compression

- Popliteal longitudinal – color and spectral Doppler

- Posterior tibial veins transverse – split screen without and with compression

- Posterior tibial veins longitudinal – color Doppler

- Peroneal veins transverse – split screen without and with compression

- Peroneal veins longitudinal – color Doppler

Reference: American Institute of Ultrasound in Medicine. AIUM-ACR-SRU Practice Parameter for the Performance of Peripheral Venous Ultrasound Examinations. 2015. http://www.aium.org/resources/guidelines/peripheralVenous.pdf Accessed October 29th, 2016.